## Slide 1: Real options and risk aversion using the integrated valuation procedure
Cameron MacKenzie, Assistant Professor IMSE
April 26, 2021

## Slide 2: Public or market risks
Based on option theory in financing
Assumption that all risk can be mitigated by hedging
Use risk-free interest rate
Under these assumptions, any decision maker (risk neutral, risk averse, risk seeking) would have the same value for a real option

## Slide 3: Can all risk be hedged in the market?
Integrated valuation procedure (Smith and Nau 1995, Smith and McCardle 1998)
If a risk is a market or public risk (i.e., can be perfectly hedged in the market) use risk-neutral probabilities and risk-free rate to calculate value of options
If a risk is a private risk that cannot be hedged in the market, use subjective probabilities and
  Risk-free rate and expected NPV if decision maker is risk neutral
  Risk-averse utility function if decision maker is risk averse
Smith, J. E. & Nau, R. F. (1995). Valuing risky projects: Option pricing theory and decision analysis. Management Science 41(5): 795-816.
Smith, J. E. & McCardle, K. F. (1998). Valuing oil properties: Integrating option pricing and decision analysis approaches. Operations Research 46(2): 198-217.

## Slide 4: 3-bus example over two years (from Nur, 2021)
 |  | Load at bus 1 | LMP at bus 1 | LMP at bus 2 | LMP at bus 3
Without generator at bus 1 | Year 1 | 270 | $8.045 | $7.85 | $7.97
 |  | 148 | $7.85 | $7.85 | $7.85
 | Year 2 | 365 | $8.045 | $7.85 | $7.97
 |  | 200 | $7.85 | $7.85 | $7.85
 |  | 110 | $7.85 | $7.85 | $7.85
With generator at bus 1 | Year 1 | 270 | $7.92 | $7.85 | $7.893
 |  | 148 | $7.85 | $7.85 | $7.85
 | Year 2 | 365 | $7.92 | $7.85 | $7.893
 |  | 200 | $7.85 | $7.85 | $7.85
 |  | 110 | $7.85 | $7.85 | $7.85
Nur, G. N. (2021). Evaluation of license for two years. Working presentation, Iowa State University, April 19.

## Slide 5: Decision model (uncertainty in load, investment cost, and operations and maintenance)
Purchase generator for year 1
Load at bus 1 in year 1
Investment cost
Total cost
Purchase generator for year 2 if no purchase for year 1
Load at bus 1 in year 2
O&M cost

## Slide 6: Decision tree
Load = 270
Load = 148
Purchase generator for year 1
Don’t purchase generator for year 1
Load = 270
Load = 148
High investment cost
Low investment cost
Purchase generator for year 2
Don’t purchase generator for year 2
High O&M cost
Low O&M cost
Load = 365
Load = 110
Low investment cost
Load = 200
Load = 365
Load = 110
Load = 200
High investment cost

## Slide 7: Key assumptions
Horizon timeline: 2 years
Risk aversion modeled by an exponential utility function
Load
  Load in year 2 depends on load in year 1 (probabilistically dependent)
  Risk of load uncertainty (higher LMPs) can be perfectly hedged in the electricity market  risk attitude is irrelevant
Investment and O&M costs
  Costs are annualized
  O&M cost begins in year after investment cost (i.e., no O&M cost if generator purchased for year 2)
  Risk of investment and O&M costs cannot be hedged  risk attitude is incorporated

## Slide 8: Parameters
Annual discount rate = 5%
Generator’s lifetime = 30 years (used to annualize investment cost)
 | Value | Probability of high | Low | Probability of low
Load | up | 0.51 | down | 0.49
Investment cost (over 30 years) | $3M | 0.60 | $1M | 0.40
Annualized investment cost | $195,000 |  | $65,000 | 
O&M cost | $400,000 | 0.70 | $200,000 | 0.30
 | Risk neutral | Moderate risk aversion | Very risk averse
Interpretation: Indifferent between $0 for certain and … | … 50% chance of $1M profit and 50% chance of $1M loss | … 52% chance of $1M profit and 48% chance of $1M loss | … 99% chance of $1M profit and 1% chance of $1M loss
Risk tolerance | Infinity | $10M | $200,000

## Slide 9: Results
 |  |  | Risk neutral | Moderate risk aversion | Very risk averse
Year 1 decision | Purchase generator |  | $111,406,681 | $111,407,210 | $111,430,402
 | Don’t purchase generator |  | $111,025,161 | $111,025,246 | $111,029,188
If generator is not purchased for year 1 and … |  | … load = 270 in year 1 | Purchase generator for year 2 |  | 
 |  | … load = 148 in year 1 | Don’t purchase generator for year 2 |  | 
If no generator is available |  |  | $111,068,328 | $111,068,328 | $111,068,328
Value of option to purchase generator |  |  | $43,167 | $43,082 | $39,140
Certain equivalent of discounted cost
Expected discounted cost

## Slide 10: Sensitivity of option value to investment cost

## Slide 11: Value of option (moderately risk averse)
Low investment cost and low O&M cost is set to $0
Probability of high investment cost = 0.6
Probability of high O&M cost = 0.7

## Slide 12: Difference in value of option between risk neutral and moderately risk averse

## Slide 13: Difference in value of option between risk neutral and very risk averse

## Slide 14: Time to purchase generator (moderately risk averse)
Purchase generator for year 1
Purchase generator for year 2 if load = 270 in year 1
Never purchase generator

## Slide 15: Conclusions
Value of option (purchasing a generator) is relatively small compared to cost of generation for all risk attitudes
  Cost of generation = $111M and maximum value of option = $300,000
  The additional generator decreases the LMP by approximately $0.13
Difference between risk neutral and risk averse
  Uncertainty in investment and O&M costs decreases the generator’s value to risk-averse decision maker
  Maximum difference in value
    $800 between risk neutral and moderately risk averse
    $22,000 between risk neutral and very risk averse
Assumption: risk of increased load (larger cost of generation) can be perfectly hedged  how would results change if only some or none of that risk could be hedged?
High investment cost makes value worthless for any type of risk attitude